# Building Your OE Library Files — Step by Step

You have a master list of metabolites for the QE1 instrument (QE1_Lib_POS.csv and its negative-mode twin). You ran a subset of those same standards on a different instrument (OE). You need to build a new, smaller file that has just the standards you actually ran, with two retention time (rt) columns — one from the old QE1 run, one from your new OE run — so people can compare them.

You'll end up with 4 files total: POS and NEG versions, for QE1-based and OE-based libraries.

Step 1 — Get the starting file

- Go to: https://github.com/erflam/Lab/tree/main/Library%20Creation

- Click on QE1_Lib_POS.csv

- Click the Download raw file button (usually looks like a down-arrow icon) to save it to your computer — don't just copy/paste the on-screen text, download the actual file.

- Put it in a folder you'll remember, e.g. Desktop/Library Creation/

## Step 2 — Make a new empty file for your results

- In that same folder, make a copy of QE1_Lib_POS.csv

- Rename the copy to OE_Lib_POS.csv (You'll delete out the rows you don't need in the next step — easier than typing a file from scratch.)

## Step 3 — Keep only the standards you actually ran

Open OE_Lib_POS.csv in Excel (or Google Sheets).

- Go through the name column.

- Delete every row for a metabolite you did not run as a standard.

- Keep every row for metabolites you did run — including all their variants (e.g. ADENINE, ADENINE-NH3, ADENINE+K, ADENINE+Na all stay if you ran adenine).

💡 Tip: If you have a lot of rows, it's faster to filter/sort by name, then delete whole blocks at once rather than hunting row by row.

## Step 4 — Rename the existing rt column

Find the column currently called rt (this came from the QE1 file).

- Rename its header to rt QE

- This just means "this retention time number is from the QE1 run" — you're not changing any of the numbers, just relabeling the column so it's clear where it came from.

## Step 5 — Add your new column

- Add a brand new column to the right of everything else, with the header rt OE

- For each row, type in the retention time you personally observed when you ran that standard on the OE instrument.

- This is the only column where you're typing in brand-new numbers — everything else already exists in the file.

## Step 6 — Check it looks right

Your finished OE_Lib_POS.csv should look like this (example):

| adduct | mz | rt QE | name | Formula | rt OE |
| --- | --- | --- | --- | --- | --- |
| M+H | 195.07699 | 4.74 | 4-Aminohippuric Acid | C9H10N2O3 | 4.25 |
| M+H | 136.0618 | 1.48 | ADENINE | C5H5N5 | 1.53 |
| M+H-NH3 | 119.0352 | 1.48 | ADENINE-NH3 | C5H5N5 | 1.53 |

Make sure:

- ✅ Every standard you ran is represented (including all its adduct variants)

- ✅ rt QE has the old numbers, rt OE has your new numbers

- ✅ No extra/unrelated metabolites are left in the file

- ✅ Save it as a .csv file (not .xlsx)

## Step 7 — Do the same thing for negative mode

Repeat Steps 1–6, but starting from the negative mode file instead (something like QE1_Lib_NEG.csv in the same GitHub folder), and name your new file OE_Lib_NEG.csv.

## Step 8 — Confirm you have 4 files

By this point you should have:

- QE1_Lib_POS.csv (original, downloaded)

- QE1_Lib_NEG.csv (original, downloaded)

- OE_Lib_POS.csv (your new file, built from the POS one)

- OE_Lib_NEG.csv (your new file, built from the NEG one)

## Step 9 — Download the processing code

Go back to the GitHub folder and download whatever script/code file is there (likely a .py file). Save it into the same folder as your 4 CSVs — that makes step 10 easier.

## Step 10 — Point the code at your files

Open the code file in a text editor (or in Python's IDE / VS Code).

- Near the top, there will be lines that reference file names or file paths (something like "QE1_Lib_POS.csv" or a full path like "C:/Users/you/Desktop/QE1_Lib_POS.csv").

- Replace those with the actual location/name of your files from Step 8. Easiest way: if the code and your CSVs are in the same folder, you can usually just use the plain filename (e.g. "OE_Lib_POS.csv") instead of a long path.

## Step 11 — Run it

- If it's a Python script: open a terminal/command prompt, navigate to that folder, and run Library Adjustment.py (using the code's actual filename).

- Check that it runs without errors and produces the expected output.

Quick glossary

- rt = retention time (how long the compound took to come off the instrument)

- mz = mass-to-charge ratio (identifies the compound's mass)

- adduct = the form the ion took (e.g. gained a proton = M+H, gained sodium = M+Na)

- QE1 / OE = the two different instruments being compared